ALLEN ORTHOTICS AND PROSTHETICS

2502 West Ohio Avenue						1921 East 37th Street, Suite A Midland, Texas							                         Odessa, Texas

432-683-3788								                           432-332-9821

Donning and Care for Your Ankle Foot Orthosis (AFO)

Leather Ankle Gauntlet

Function:

Your AFO is designed to correct, accommodate a deformity, provide support to your foot /ankle or assist you in walking.

Use:

Donning Your Leather Ankle Gauntlet

- Always wear a sock when wearing the orthosis.  This will aid in preventing skin breakdown by reducing pressure.

- Don the brace by placing your foot and leg inside the brace from the anterior, or front, making sure the tongue of the orthosis is on top of your foot.

- Make sure that your heel is fully down into the orthosis. If there is space between your heel and the bottom of the orthosis, this could cause skin break down.

- At this time, tighten the laces of your orthosis to a snug position making sure that it is not too tight as to cause circulation problems.

- Place your shoe over your orthosis and foot, making sure that your toes stay fully extended. Tie your shoe snuggly to prevent movement between the orthosis and the shoe.

Wear Schedule for Your Orthosis

You will use a progressive wear schedule to insure that your skin becomes accustomed to your new orthosis.  Wear your new orthosis for no more than one hour at any one time on the first day you receive it. Gradually increase your wearing time by one hour until you are wearing the orthosis for an entire day without any difficulty.  It is extremely important to monitor your skin for any redness that does not dissipate within 20-30 minutes.  If problems arise, such as excessive pressure or redness discontinue use and contact our office.  If skin breakdown occurs discontinue use and contact your physician immediately.

Care/Maintenance:

You can clean your orthosis with a leather cream, found at most shoe stores. Allow the leather to dry fully before donning the orthosis.

Precautions:

Check your skin for redness over boney areas immediately after taking your KAFO off.  Also check skin in areas corresponding to the edges of the orthosis, and the edges of the strap(s). Areas of redness should dissipate within 20-30 minutes. If the red areas do not dissipate contact our office and schedule and appointment for an adjustment to be made. If you experience skin breakdown, discontinue use and contact your physician for an appointment to have the area assessed.  Avoid using lotions on your skin as this will soften the tissue. Soft skin is more susceptible to skin break down.

Report failures, malfunctions or changes in your physical condition to us as soon as possible.