ALLEN ORTHOTICS AND PROSTHETICS

2502 West Ohio Avenue					               1921 East 37th Street, Suite A

Midland, Texas							                           Odessa, Texas

432-683-3788								                             432-332-9821

HIP-DISARTICULATION  PROSTHESIS 
USE AND CARE

Function:

A Hip-disarticulation prosthesis is an artificial substitute to replace an amputated lower extremity.  The prosthesis can be used for transfers and ambulating.

Use:

See application instructions.

Care/Maintenance:

Proper Footwear:

- Shoes should not irritate or constrict the sound foot. Shoes should provide proper support, comfort, and fit. Choose the appropriate heel height for your specific prosthetic foot.

- Avoid shoes with high or narrow heels, stiff soles, leather soles, or hard heels.

- Oxford or athletic shoes with laces or Velcro straps are appropriate for use with a prosthesis.

- Always choose shoes with the same heel height as the first pair that were used with your prosthesis.  Your prosthetist can sometimes make modifications to shoes with different heel heights.

- Do not wear prosthesis without shoes, this can result in permanent damage.

Hygiene and Inspection:

- Inspect the front, back, bottom and sides of your residual limb before and after wearing the prosthesis.

- Use a magnifying mirror, or ask for help when inspecting the limb.

- Look for abrasions, blisters, and infections, swelling or prolonged redness. Contact your prosthetist for further recommendations.

- Don’t forget, inspection of your sound limb is equally important.

- Use lotions and creams sparingly if dry skin is present. Apply lotion at night (avoid coco butter). Do not apply lotion in the morning or just before using the prosthesis.

Cleaning Your Residual Limb:

- Bath and clean your residual limb daily, preferably during the evening to allow adequate drying time.

- Use a mild soap and warm water.

- Rinse thoroughly to remove all soap residues.

- Dry gently with a clean towel and allow limb to air dry.

- Do not wear your prosthesis if skin is still moist.  Damp skin may swell, stick to the prosthesis or become irritated from rubbing.

Cleaning the Socket:

# Clean the inside of the socket/insert daily preferably in the evening to allow adequate drying time.

# Use a warm damp washcloth and mild soap to thoroughly clean the inside of the socket/insert to remove buildup of perspiration, bacteria and debris.  Dry with clean towel.

- OPTIONAL – disinfecting wipes, alcohol, astringent such as “Sea Breeze”® can be substituted for soap and water when cleaning sockets and inserts.

- Wipe your prosthetic skin with a damp cloth and mild cleaner as needed.

Maintenance of Your Prosthesis:

- Most prosthetic devices require little maintenance other than keeping them clean. Service for feet, ankles, knees, or locking mechanisms should be provided at your prosthetic facility.

- Most prostheses are not waterproof.  If prosthesis becomes wet remove the shoe and cosmetic nylons to facilitate drying.

Follow-Up Visits:

- Follow-up visits will be necessary for all new prosthesis users and newly fitted prostheses.  Return for a follow-up within the first four weeks.

- Do not hesitate to contact our office should adjustments be needed.  Do not attempt adjustments or repairs yourself.

- Any adjustments, alterations, modifications or repairs made by anyone other than Allen Orthotics and Prosthetics Inc. will void all warranties.

Warranty Information:

- Allen Orthotics and Prosthetics will warranty our construction and fit of the prosthesis for 90 days, notwithstanding any change in the patient’s condition.

- Manufacturer’s warranties on componentry vary. Contact our office should you have questions about a specific manufacturer’s warranty.

- See Allen Orthotics & Prosthetics warranty policy for further information.

Precautions:

- Check with your Therapist before ambulating independently.

- Do not use the prosthesis without a shoe.

- Always remember that before you apply your prosthesis, you should check for any foreign objects that may have fallen inside the socket while you were not wearing the prosthesis.

- Make sure your sock thickness is correct at all times.  After you have worn the prosthesis, check your skin for redness over boney areas.  If any problems arise, such as excessive pressure, redness, or skin breakdown, discontinue use and contact this office for an adjustment appointment.

- Caution should be taken when walking with the prosthesis.  The prosthesis can cause you to fall resulting in injury or death.

- You should be evaluated by the Texas Department of Motor Vehicles to determine your ability to drive with a prosthesis. Driving with a prosthesis can be dangerous, the prosthesis can slip off causing loss of control of the vehicle resulting in injury or death.

Contact our office immediately if you experience any of the following problems:

- Noises or clicking when walking (this could indicate a loose or broken component).

- Blisters or abrasions on your residual limb.

- If you have any doubts about fit, alignment or condition of your prosthesis or residual limb.

Progressive Wearing Schedule for first prosthesis:

- Wear time - First day= 1 hour.  Add 30 minutes to 1 hour each day to build up to full time wear within two weeks (this is wear time, not time spent walking or standing).

- Weight bearing - should begin at 50% and gradually increase to full weight bearing within two weeks.  Frequently inspect residual limb during first week of wear.  This schedule should be followed as tolerated, some individuals will progress at a slower pace than this recommended wear schedule.

Progressive Wearing Schedule for replacement prosthesis:

- Wear time – As Tolerated.

- Weight bearing - As Tolerated.

*	Your heel height is _______.

* 	The maximum weight limit is _______.

Report failures, malfunctions or changes in your physical condition to us as soon as possible.