ALLEN ORTHOTICS AND PROSTHETICS

2502 West Ohio Avenue					                 1921 East 37th Street, Suite A

Midland, Texas							                             Odessa, Texas

432-683-3788								                               432-332-9821

PROSTHETIC SOCKS

Function:

Prosthetic socks are used to maintain a comfortable and proper fit of the prosthesis.  Socks will allow for independent volume control as the volume of the residual limb can change over time and also on a daily basis.  To maintain a proper fit of the prosthesis adjust socks as necessary.

Volume changes in the residual limb may require several sock adjustments each day.

Use:

Several factors can affect the size of the residual limb, including fluid retention, heat, weight loss or gain, and atrophy.

Volume changes in the residual limb may require several sock adjustments each day.

Socks should be replaced daily, more often in warm humid weather.

Care/Maintenance:

The socks should be washed according to manufacturers’ instructions.

To dry wool socks, roll them in a towel to get rid of excess water (do not wring) and lay them flat to dry, (avoid direct sunlight).

Wool and wool blend socks can be machine washed in warm water.  Do not hand wash.  Do not bleach.  Tumble dry warm.  Use a sheet fabric softener (No liquid softener).

Cotton and synthetic socks can be machine washed and machine dried.

Hot water and excessive heat when washing and drying socks can cause shrinkage.

For proper sock care, read the directions that came with the sock.

Precautions:

If the number of socks used is incorrect, the socket will not fit properly and may cause 
discomfort and/or skin breakdown.

Report failures, malfunctions or changes in your physical condition to us as soon as possible.