ALLEN ORTHOTICS AND PROSTHETICS

2502 West Ohio Avenue					           1921 East 37th Street, Suite A

Midland, Texas							                       Odessa, Texas

432-683-3788								                         432-332-9821

BK SOCK TYPE COMPRESSION SHRINKERS

Function:

A Shrinker can be used as a substitute for compression-bandaging and is designed to reduce swelling after an amputation.  A Shrinker can also be used to prevent swelling when not wearing a prosthesis.

Use:

- During the healing process the shrinker should be replaced daily with a clean shrinker.

- When the limb is completely healed, the shrinker should be worn no more than 48 hours without laundering.

- Gather the shrinker like a stocking and apply by pulling onto the limb. The shrinker must be pulled up tightly with no looseness at the end. The greatest tension should be at the end of your residual limb and the shrinker should be free of wrinkles.

- If using a donning aid, stretch the open end of the shrinker over the donning tube until the seam on the end of the shrinker is smooth and stretched across the opening of the tube. Then place the end of the shrinker over your residual limb and pull the donning tube over your limb while sliding the shrinker off of the tube and onto your residual limb.

- The shrinker should be reapplied 3 to 4 times per day and adjusted as needed to maintain proper tension.

- Do not allow the top of the shrinker to roll down as this can cause a choking effect on the residual limb.

- Unless otherwise instructed by your prosthetist, the shrinker should be worn whenever you are not using your prosthesis in order to maintain the shape of your limb and prevent swelling.

Care/Maintenance:

Hand Wash:

- The shrinker should be hand washed and air dried each day.

- To preserve the life of the prosthetic shrinker, hand wash with non-detergent soap and cold water.

- To expedite drying time, roll shrinker in a towel and knead to remove excess water (do not wring).  Remove as much moisture as possible, lay flat and allow it to dry completely.

Machine Wash:

- When machine washing, wash in cold water with soap, no detergent, gentle cycle, cool rinse.  Do not use bleach, chlorine, fabric softeners, or other laundry additives.  These may damage your garment.

- Do not use dryer.  Do not dry in direct sun light.

- Store your prosthetic shrinker in a dry place at room temperature.

Precautions:

If you experience discomfort using the shrinker, discontinue use and contact your prosthetist.

Report failures, malfunctions or changes in your physical condition to us as soon as possible.